1. First PCR with mastermix, all same primers.
2. Add beads to PCR product.
3. Magnet incubate
4. Add ethanol, wait 30 seconds
5. Remove, with clean tips.
6. Add more ethanol, remove with same tips.
   1. Trash in deepwell
7. Add elution buffer